| Specification Section 32 31 00 TIGER SECURITY GATE SYSTEM – TYM-VS OPERATOR, STRUCTURAL GATE AND LOCK (ORNAMENTAL) |  |  |
| --- | --- | --- |

GENERAL

  - SECTION INCLUDES:

    - The work in this section shall include furnishing all labor, materials, equipment and appliances necessary to complete all Fortress Structural Gate System(s) required for this project in strict accordance with this specification section and drawings.  The gate and operator shall be specifically designed to complement each other as a system and be provided by a single manufacturer.  Components (operator from one source and gate panel from another) assembled at the job site to form a system will not be approved.

  - REFERENCES:

    - Underwriters Laboratory Gate Operator Requirements (UL 325).  See 2.01 E.

    - ASTM F 2200 – Standard Specification for Automated Vehicular Gate Construction.  See 2.01 E.

    - ASTM F 1184 – Standard Specification for Industrial and Commercial Horizontal Slide Gates, Type II, Class 2.  See 3.02 B.

    - American Welding Society AWS D1.2 Structural Welding Code.  See 2.01 D and    2.06 D.

    - ASTM A 123 Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel.

  - SUBMITTAL:

    - Product Data:

      - Provide manufacturer’s catalog cuts with printed specifications and installation instructions.

      - Deliver two copies of operation and maintenance data covering the installed products.  Manual to include parts list showing manufacturer’s names and part numbers for the gate operator.

    - Shop Drawings:

      - Supply shop drawings showing the relationship of operating systems with gate components, including details of all major components.

      - Include complete details of gate construction, gate height and post spacing dimensions.

    - Certification of Performance Criteria:

      - Manufacturer of gate system shall provide certification stating the gate system includes the following material components that provide superior performance and longevity. Alternate designs built to minimum standards that do not include these additional structural features shall not be accepted.

        - Gate track system shall be keyed to interlock into gate frame member (providing 200% additional strength when compared to weld only keyless systems). When interlocked with and welded to the "keyed" frame top member, gate track forms a composite structure.

        - Gate shall have a minimum counterbalance length of 50% opening width which provides a 36% increase in lateral resistance (when compared to ASTM minimum of 40% counterbalance). If gate is ever to be automated, counterbalance section shall be filled with fabric or other specified material.

        - To provide superior structural integrity, major vertical members shall be spaced at intervals less than the gate frame height and each vertical member, including pickets, shall be welded in place.

        - Entire gate frame (including counterbalance section) shall include 2 adjustable stainless steel cables (minimum 3/16”) per bay to allow complete gate frame adjustment (maintaining strongest structural square and level orientation).

        - Gate truck assemblies shall be tested for continuous duty and shall have precision ground and hardened components.  Bearings shall be pre-lubricated and contain shock resistant outer races and captured seals.

        - Gate truck assemblies shall be supported by a minimum 5/8” plated steel bolt with self aligning capability, rated to support a 2,000 # reaction load.

        - Hanger brackets shall be hot dipped galvanized steel with a minimum 3/8” thickness that is also gusseted for additional strength.

        - Gate top track and supporting hangar bracket assemblies shall be certified by a licensed professional engineer to withstand a 2,000 lb. vertical reaction load without exceeding allowable stresses.

    - Certifications:

      - The Structural Cantilever Slide Gate system must be cycle-tested and certified per section 2.01 C.

      - Gate in compliance with ASTM F 2200, Standard Specification for Automated Vehicular Gate Construction per section 2.01 E.

      - Gate operator shall be in compliance with UL 325 as evidenced by UL listing label attached to gate operator.

      - The aluminum welders and welding process must be certified per section 2.06 D.

      - Manufacturer shall supply gate design performance certification as per section     1.03 C.

PRODUCTS:

  - Cantilever slide gate system MANUFACTURERS:

    - The cantilever sliding gate system shall be manufactured by Tymetal Corp., 2549 State Route 40, Greenwich, NY  12834  - (800) 328 - 4283.

    - Approved substitution – All other systems must be submitted to the design team in accordance with substitution requirements as set forth in the general provisions of the specification manual for approval prior to the bid date.  Products submitted after the bid date will not be approved.

    - Cantilever Slide Gate and Operator System manufacturer shall submit test results stating that the gate panel and operator have been tested as a system for 200,000 cycles.  See 1.03 D.1.

    - Gate manufacturer shall provide independent certification as to the use of a documented Welding Procedure Specification and Procedure Qualification Record to insure conformance to the AWS D1.2 welding code.  Upon request, Individual Certificates of Welder Qualification documenting successful completion of the requirements of the AWS D1.2 code shall also be provided.  See 1.02 D.

    - Gate manufacturer shall certify gate is manufactured in compliance with               ASTM F 2200, Standard Specification for Automated Vehicular Gate Construction and the operators are UL 325 listed.  See 1.03 D.2 and 1.03 D.3.

  - SYSTEM DIMENSIONS:

    - Fortress Structural Cantilever Slide Gate System dimensions shall be as shown on the detail drawings.

      - Structural Gate may be used for single clear openings up to 40’ wide.

  - SYSTEM FUNCTION:

    - Operation:

      - System shall be designed so that gate movement from the closed position is impossible except by electric or mechanical means.

    - Variable Speed-Rate of Travel:

      - The TYM-VS gate operator shall have the ability to achieve a maximum gate speed of 2.2 feet per second, and shall be equipped with soft-start and soft-stop function to prevent shock load to the gate panel and operator.

  - TYMETAL SLIDING GATE OPERATOR MODEL TYM-VS:

    - Motor Size:

      - The electrical motor shall be 1 HP, [208VAC, Three Phase] or [230 VAC, Three Phase] or [208 VAC, Single Phase] or [230 VAC, Single Phase] or [460 VAC, Three Phase] as produced by a nationally recognized manufacturer.

    - AC Drive:

      - The variable frequency drive unit shall allow for programmable speeds and programmable soft-start and soft-stop features.

    - Overload Protection:

      - Motor shall be protected against overload by either a thermal or a current sensing overload device.

    - Gear (Box) Reducer:

      - The self-enclosed gear-head gearbox shall be manufactured as a single unit, and shall consist of a hardened steel, machine cut worm and mating bronze gear running in oil bath.  Oil shall be a #634 specialty oil with a fluid pour point of –44 degrees F.  The gearbox shall perform the following functions:

        - Adjustable Clutching Device.

        - Manual disconnect by crank handle.

    - Gear Box Heater

      - Operator shall include internal gearbox heater and a heater strip for the control box.

    - Drive – Chain:

      - A #50 roller chain shall be utilized.  All chain brackets and required attachment hardware shall be supplied.

    - Manual Operation:

      - A crank handle, located at ground level in the motor box, shall provide a two-step emergency procedure for manual operation:

        - Unlock and open motor-box door.

        - Fold out handle and crank gate opened or closed.

    - Limits:

      - The operator shall be equipped with an integral limit system, providing accurate settings to control the open and close positions of the gate, and shall not be affected by manual operation or motor removal.

    - Control Circuit:

      - U.L. listed operator shall have 5vdc controls.

    - Control wiring:

      - The electrical contractor shall supply all exterior control wiring.

    - Audio Alarm:

      - This alarm shall have a dual function.

        - The first function shall be as a warning prior to gate movement.  When the motor control board recognizes a command, this alarm shall be activated three (3) seconds before the motor is energized and the gate begins to move.  This shall be continuously activated while the gate is in motion.

        - For UL Class III operation only, the audio alarm shall be an entrapment notification alarm.  This alarm shall sound as a result of a second activation of the external primary entrapment prevention device before an end limit (open or close) is reached.  The pulsing rate of the alarm in the entrapment notification mode shall be faster than the pulsing rate when in the warning mode prior to gate movement.

    - Main Power Disconnect Switch and Wiring Compartment:

      - When this switch is in the OFF position, the main power shall be disconnected from the Variable Speed Drive, Motor Control Board and power transformer(s).

    - Speed:

      - The gate operator speed shall be fully programmable allowing a maximum speed of 2.2 feet per second.

    - Transformer:

      - Operators shall have an isolated low voltage (24V) secondary circuit supplied by a Class II transformer (minimum of 40va) to provide separate power for external control devices (not including external gate lock).

    - Auto Close Timer:

      - The timer provides an automatic closure of the gate from the full open position, adjustable from 2 to 60 seconds.

  - MOTOR HOUSING:

    - Water Resistant Motor Box:

      - The motor box shall be constructed of 10-gauge sheet steel, hot-dip galvanized per ASTM A 123, gasketed and located at ground level for easy maintenance.

    - Security Hinges and Tamper Resistant Security Screws:

      - Security hinges and screws shall be furnished to secure operator enclosure components.

    - Motor Box Lock:

      - Motor box shall be locked with a detention grade dead bolt.  Three (3) keys shall be provided per key code.

  - STRUCTURAL SLIDING GATE PANEL:

    - Structural Gate Frame:

      - The gate frame shall be fabricated from 6063-T6 aluminum alloy extrusions.  The top member shall be a 3" x 5" (76mm x 127mm) aluminum structural channel/tube extrusion weighing not less than 3.0 lb/lf (4.4kg/m) for Internal Picket designs or 2.6 lb/lf (3.8kg/m) for External Picket designs.  To maintain structural integrity this frame member shall be "keyed" to interlock with the “keyed” track member.  If fabricated as a single horizontal piece, the bottom member shall be a 2" x 5" (51mm x 127mm) aluminum structural tube weighing not less than 2.0 lb/lf (2.9kg/m).  If fabricated in two horizontal pieces, the bottom member shall be a 5" (127mm) aluminum structural channel weighing not less than 2.6 lb/lf (3.8kg/m).  When the gate frame is manufactured in two horizontal pieces or sections, they shall be spliced in the field (the gate frame shall be fabricated in one or multiple sections depending on size requirements or project constraints).

      - Vertical Members (Ornamental Picket):

        - Ornamental Picket (Internal and External): The vertical members at the ends of the opening portion of the frame shall be 2” x 2” (51mm x 51mm) in the cross section weighing not less than 1.1 lb/lf (1.6kg/m).  The major vertical members separating each bay shall be 1” x 2” (25mm x 51mm) in cross section weighing not less than .82 lb/lf (1.2kg/m).

    - Splicing:

      - A ¼" x 5" x 24" galvanized steel splice plate shall be used to secure the two bottom channel members together utilizing eight (8) plated carriage bolts with lock nuts.  The top members will be spliced together using a ¼" x 2" x 24" aluminum splice plate secured with six (6) drive rivets on one side and welded to the top member on the other side.  The track is overlapped onto the opposing section in an alternating fashion, interlocking with the top primary member.

    - Gate Track:

      - The gate shall have a separate semi-enclosed “keyed” track, extruded from     6005A-T61 or 6105-T5 aluminum alloy, weighing not less than 2.9 lb/lf.  Track members are to be located on each side of the top member.  When interlocked and welded to the “keyed” top member, it forms a composite structure with the top of the gate frame.  Welds are to be placed alternately along the top and side of the track at 9" centers with welds being a minimum of 2" long.

    - All welds on the gate frame shall conform to Welding Procedure Specification and Procedure Qualification Record to insure conformance to the AWS D1.2 Structural Welding Code.  All individual welders shall be certified to AWS D1.2 welding code.  See 1.02 D.

    - Gate Mounting:

      - The gate frame is to be supported from the track by four (4) swivel type, self-aligning, 4-wheeled, sealed lubricant, ball-bearing truck assemblies.

      - The bottom of each support post shall have a bracket equipped with a pair of 3” (76mm) UHMW guide wheels Wheel cover protectors shall be included with bottom guides to comply with UL325.

      - Gap protectors shall be provided and installed, compliant with ASTM F 2200-05.

    - Diagonal Bracing:

      - Diagonal "X" bracing of 3/16" (5mm) minimum diameter stainless steel aircraft cable shall be installed throughout the entire gate frame.

    - The gate shall be completed by installation of approved filler as specified.

      - Ornamental Picket:  Picket sizes shall be 1” (25mm) square.  Pickets may extend through only the clear opening portion or through the entire length of the gate as required.  If a motorized gate operator is to be applied to the gate and the specified picket spacing allows for openings in the gate frame that exceed 2¼” (57mm), a secondary gate filler shall be secured at each end of the gate frame and tied at each 1” x 2” (25mm x 51mm) or 2” x 2” (51mm x 51mm) vertical member.  The secondary gate filler shall extend to a minimum height of 72” (1.2m) above grade and shall be sized to prevent a 2¼” (57mm) diameter sphere from passing through openings anywhere along the length of the gate frame, and in that portion of the adjacent fence that the gate covers in the open position.

    - Posts (by others):

      - Double sets of support posts shall be minimum 4" O.D. (102mm) round Schedule 40 or 4” x 4” x 3/16” wall square steel tubing, grade 500.  Gate posts shall be galvanized or coated and supported in concrete footings as specified by the design team.

    - Finish:

      - Gate to be mill finish aluminum or color coated with polyester powder as specified. If powder coated, the gate (including track member) and all accessories shall be pretreated chemically by sand blasting or other acceptable method to ensure proper coating adherence.

    - Gate Lock:

      - Gate system shall be furnished with a secure gate catcher.  The catcher shall prevent the gate panel from being pried open while the gate is in the closed and locked position.

      - Gate system shall be furnished with an electro-mechanical lock.  Lock shall be supplied with status indication and with a six tumbler mechanical lock.  All gates shall be keyed alike.  Lock requires additional 115V power supplied by others.

  - WARRANTY:

    - The cantilever slide gate and operator system shall be warranted by the manufacturer against manufacturing defects for a period of (3) three years from date of sale.  The truck assembly shall be warranted against manufacturing defects by the manufacturer for a period of (5) five years from date of sale.

  - CONTROLS:

    - UL listed Class III or IV operator:

      - Class III: Momentary contact control with non-contact sensor and alarm. Non-contact sensors shall provide external primary entrapment protection system and must be installed for both close and open gate directions.  When this equipment is installed, momentary contact on the pushbutton control will start or stop gate movement. The secondary entrapment device shall be the inherent audio alarm. The built-in auto-close timer may be used to automatically close the gate from a full open position after a user set time (from 2-60 seconds).

    - For Class III operation with Momentary Contact Control - Two Albano IR-55 Photo-beams are to be provided with the operator as devices to provide primary entrapment protection under the UL 325 guidelines.  The provision of the above photo-beams does not alleviate the installing contractor from the responsibility of identifying and providing protection from safety hazards (entrapment zones) under UL 325 standards for Class III or IV installations.  The secondary entrapment protection device provided shall be the inherent audio alarm.

    - The installing contractor shall be responsible to ensure that appropriate external primary entrapment safety devices be installed for the specific site conditions to protect against all potential entrapment zones.  Proper operation of these safety devices shall be verified and training as to the operation and maintenance of these devices for the users and owners shall be documented.

  - CONTROLS FOR ELECTRICALLY OPERATED CANTILEVER SLIDING GATES (UL Class III or IV):

    - Select and specify access control devices for this specification section. Operator compatible with most industry accessories.

EXECUTION

  - Site INSPECTION:

    - Final grades and installation conditions shall be examined.  Installation shall not begin until all unsatisfactory conditions are corrected.

  - INSTALLATION:

    - Equipment in this section shall be installed in strict accordance with the company’s printed instructions unless otherwise shown on the contract drawings.

    - The gate and installation shall conform to ASTM F 1184 standards for aluminum cantilever slide gates, Type II, Class 2.  See 1.02 C.

    - The gate system is to comply with ASTM F 2200 and UL 325.  See 1.02 B and 1.02 A.

  - SYSTEM validation:

    - The complete system shall be adjusted to assure it is performing properly.

    - The system shall be operated for a sufficient period of time to determine that the system is in proper working order.

    - Test and Explain Safety Features:

      - Each system feature and device is a separate component of the gate system.

      - Read and follow all instructions for each component.

      - Ensure that all instructions for mechanical components, safety devices and the gate operator are available for everyone who will be using the gate system.

      - The warning signs shipped with the gate operator must be installed in prominent position on both sides of the gate.

    - Ensure the owner is clear with regard to the safety points concerning the basic operational guidelines of the safety features of the gate operator system.  These safety points are listed in the operator manual and must be read prior to system use.

Note: Tymetal Corp. reserves the right to modify and/or make changes as deemed necessary without previous notice.