| Specification Section 32 31 00 TYM-VSA VARIABLE SPEED OPERATOR AND OVERHEAD SLIDE GATE SYSTEM |  |  |
| --- | --- | --- |

GENERAL:

SECTION INCLUDES:

    - The work in this section shall include furnishing all labor, materials, equipment and appliances necessary to complete all Fortress Heavy Duty Overhead Slide Gate System(s) required for this project in strict accordance with this specification section and drawings.  The gate and operator shall be specifically designed to complement each other as a system and be provided by a single manufacturer.  Components (operator from one source and gate panel from another) assembled at the job site to form a system will not be approved.

REFERENCES:

    - Underwriters Laboratory Gate Operator Requirements (UL 325).  See 3.02 C.

      - Automated / operated vehicular gates are not to be used for pedestrian traffic.  Separate pedestrian gates must always be provided if pedestrian traffic is expected.

    - ASTM F 2200 - Standard Specification for Automated Vehicular Gate Construction.  See 2.01 D.

    - ASTM F 1184 - Standard Specification for Industrial and Commercial Horizontal Slide Gates, Type I, Class 2.  See 3.02 B.2.

    - American Welding Society AWS D1.2 Structural Welding Code.  See 2.01 C.

    - ASTM A 123 Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel.

    - American Society of Civil Engineers – ASCE-7 Wind Load Requirements.  See 1.03 C.3.

SUBMITTAL:

    - Product Data:

      - Provide manufacturer’s catalog cuts with printed specifications and installation instructions.

      - Furnish detailed sequence of operation (description of system).

      - Deliver two copies of operation and maintenance data covering the installed products.

    - Shop Drawings:

      - Supply shop drawings showing the relationship of operating systems with gate components, including details of all major components.

      - Include complete details of gate construction, gate height and post spacing dimensions.

    - Certifications:

      - Gates in compliance with ASTM F 2200, Standard Specification for Automated Vehicular Gate Construction and operators are UL 325 listed per section 2.01 D.

      - The aluminum welders and welding process must be certified per section 2.01 C.

      - Gate is to be designed to meet specified ASCE-7 wind load requirements with the gate in the closed and latched condition only.  Typical gate design is expected to operate satisfactorily in winds up to 30MPH.  Depending on gate panel infill, winds higher than 30MPH may cause gate operational problems (operator entrapment sensing may trigger; gate panel may not engage receiver).  For sites with higher operational, non-typical, or specified wind loadings, manufacturer should be advised of the site conditions and a specifically engineered design will be offered.

PRODUCTS:

OVERHEAD slide gate system MANUFACTURERS:

    - The overhead slide gate system shall be manufactured by Tymetal Corp., 678 Wilbur Avenue Greenwich, NY  12834  -  (800) 328 - 4283.

    - Approved substitution – All other systems must be submitted to the design team in accordance with substitution requirements as set forth in the general provisions of the specification manual for approval prior to the bid date.  Products submitted after the bid date will not be approved.

    - Gate manufacturer shall provide independent certification as to the use of a documented Welding Procedure Specification and Procedure Qualification Record to insure conformance to the AWS D1.2 welding code.  Upon request, Individual Certificates of Welder Qualification documenting successful completion of the requirements of the AWS D1.2 code shall also be provided.  See 1.03 C.2.

    - Gate manufacturer shall certify gate is manufactured in compliance with ASTM F 2200, Standard Specification for Automated Vehicular Gate Construction and the operators are UL 325 listed.  See 1.03 C.1.

VEHICULAR SLIDE GATE OPERATOR TYM-VSA:

    - The slide gate operator as provided by Tymetal Corp. shall open and close cantilever, overhead, or track gates, to provide convenience and security. This model is adapted to function with most accessories including: radio controls, electro-mechanical locks, single and three button control stations, digital keypads, coded cards, sensing loops, telephone entry systems, and revenue control equipment. The operator utilizes 208/230 Volt AC single phase, or 208/230 Volt AC or 460 Volt AC three phase power.  Motor box is 10 gauge galvanized steel with detention grade hinges and mogul lock.

    - The gate operator shall be UL 325 compliant for Class III and IV.

    - The gate operator includes an APeX Controller with integrated radio receiver, plug-in loop detector capability, surge protection, and easy to read labeling standard.

    - Capacity:

      - The gate operator shall be rated to operate a gate weighing up to 5,000 lbs.

    - Motor Size:

      - The electrical motor shall be 1 HP, [208/230VAC, Single Phase] or [208/230VAC, Three Phase] or [460 VAC, Three Phase] as produced by a nationally recognized manufacturer.

    - AC Drive:

      - The variable frequency drive unit shall allow for programmable speeds and programmable soft-start and soft-stop features.

    - Overload Protection:

      - Motor shall be protected against overload by either a thermal or a current sensing overload device.

    - Gear (Box) Reducer:

      - The self-enclosed gear-head gearbox shall be manufactured as a single unit, and shall consist of a hardened steel, machine cut worm and mating bronze gear running in oil bath.  The gearbox shall perform the following functions:

        - Adjustable Clutching Device.

        - Manual disconnect by crank handle.

    - Gear Box Heater

      - Operator shall include internal gearbox heater and a heater strip for the control box.

    - Drive – Chain:

      - A #50 roller chain shall be utilized.  All chain brackets and required attachment hardware shall be supplied.

    - Manual Operation:

      - A crank handle, located at ground level in the motor box, shall provide a two-step emergency procedure for manual operation:

        - Unlock and open motor-box door.

        - Fold out handle and crank gate opened or closed.

    - Limits:

      - The operator shall be equipped with an integral limit system, providing accurate settings to control the open and close positions of the gate, and shall not be affected by manual operation or motor removal.

    - Control Circuit:

      - U.L. listed operator shall have 5VDC control signal.

    - Control wiring:

      - The electrical contractor shall supply all exterior control wiring.

    - Audio Alarm:

      - This alarm shall have a dual function.

        - The first function shall be as a warning prior to gate movement.  When the motor control board recognizes a command, this alarm shall be activated three (3) seconds before the motor is energized and the gate begins to move.  This shall be continuously activated while the gate is in motion.

    - Main Power Disconnect Switch and Wiring Compartment:

      - When this switch is in the OFF position, the main power shall be disconnected from the Variable Speed Drive, Motor Control Board and power transformer(s).

    - Speed:

      - The gate operator speed shall be fully programmable allowing a maximum speed of 2.2 feet per second.

    - Transformer:

      - Operators shall have an isolated low voltage (24VDC, 750mA) power supplied to provide power for external control devices (not including external gate lock).

    - Auto Close Timer:

      - The timer provides an automatic closure of the gate from the full open position, adjustable from 0 to 60 seconds.

    - Master/Slave:

      - Master/Slave or stand alone capable with programmable setting.

    - Factory Inspection and Testing

      - Manufacturer shall test each operator at factory to assure smooth, quiet operation.

      - Manufacturer shall test all control inputs to ensure proper function.

MOTOR HOUSING:

    - Water Resistant Motor Box:

      - The motor box shall be constructed of 10-gauge sheet steel, hot-dip galvanized per ASTM A 123, gasketed and located at ground level for easy maintenance.

    - Security Hinges and Tamper Resistant Security Screws:

      - Security hinges and screws shall be furnished to secure operator enclosure components.

    - Motor Box Lock:

      - Motor box shall be locked with a detention grade dead bolt.  Three (3) keys shall be provided per key code.

ACCESS CONTROL:

    - Entrapment Devices:

      - Photoelectric through beams/photo eyes shall be installed to span the clear opening and gate path at the tail section.

    - Optional accessories, contact, non-contact, and control devices:

      - Control devices include pushbuttons, radio controls, keypads, card readers, key switches, telephone entry systems, and revenue control equipment.

      - Contact and non-contact devices include photoelectric sensors, vehicle detectors, proximity sensors, and contact edges.

      - Accessories include flashing strobe lights, cycle counters, and intercom systems.

GATE CONSTRUCTION DETAILS:

    - Gate Frame:

      - All welds on the gate frame shall conform to Welding Procedure Specification and Procedure Qualification Record to insure conformance to the AWS D1.2 Structural Welding Code.  All individual welders shall be certified to AWS D1.2 welding code.  See 1.02 D.

      - The gate frame shall be fabricated from 6005A-T61 or 6005A-T5 aluminum alloy extrusions.  The top member shall be a 3" x 5" aluminum structural channel/tube extrusion weighing not less than 3.0 lb/lf.  The bottom member shall be a 2" x 5" aluminum structural tube weighing not less than 2.0 lb/lf.

      - Vertical Members:

        - Chain Link: The vertical members at the ends of the opening portion of the frame shall be "P" shaped in cross section with a nominal base dimension of no less than 2” x 2” and weighing not less than 1.6 lb/lf.  The intermediate vertical members shall alternate between 2” x 2” and 1” x 2” in cross section weighing not less than 1.1 lb/lf and 0.82 lb/lf respectively.  The spacing for the vertical intermediates shall be less than 50% of the gate frame height.

    - Gate Track:

      - The separate semi-enclosed overhead track, extruded from 6005A-T61 or      6105A-T5 aluminum alloy, shall weigh a minimum of 2.7 lb/lf. Aluminum overhead track shall be bolted to the overhead aluminum angle or “W” beam by means of 1/2" diameter bolts at intervals not exceeding two ft.

    - Gate Mounting:

      - The gate frame is to be supported from the overhead track by a minimum of two swivel type, self-aligning, 4-wheeled, sealed lubricant, ball-bearing truck assemblies. The bottom of each center support post shall be equipped with a 3" guide wheel.

      - For wall mounted gates (all opening widths): Include information that wall-mounted overhead slide gates are to be mounted by means of a 4" x 6" x 3/8" aluminum or galvanized steel angle. The mounting details shall be as specified by the engineer.

      - For added wind resistance each of four (4) intermediate posts shall support a pair of 3” (76mm) UHMW intermediate bottom guide wheels.  See  2.03 D-2.

    - Posts:

      - For freestanding gates (up to 40’ in opening width):  Include information that freestanding overhead slide gates are to be hung from three sets of 4" O.D. galvanized steel posts, set apart as indicated in the bid drawings. A 3" x 3" x 3/16" steel angle shall be welded between them to support the "I" or "W" beam.  The "I" or "W" beams shall extend for a distance approximately twice the width of the gate.

      - Intermediate posts shall be installed to support additional “High Wind Package” bottom guide assemblies per detailed drawing.

    - Diagonal Bracing:

      - Diagonal "X" bracing of 3/16" or 1/4” diameter stainless or galvanized steel cable shall be installed throughout the gate to brace the gate panels and to provide a ready means of vertical adjustment.

    - Gate Filler:

      - Chain Link: 2” x 2” x 9 gauge aluminized steel chain link fabric shall extend the entire length of the gate (if operated gate, the tail must also have fabric to prevent reach through and comply with ASTM F2200, see 1.03 C.1) Fabric shall be attached at each end of the gate frame by standard fence industry tension bars and tied at each 2” x 2” (51mm x 51mm) vertical member with standard fence industry ties. ASTM F2200 requires attachment method that leaves no leading or bottom edge protrusions (cannot exceed 0.5 inch).  The gate filler shall extend to a minimum height of 72” above grade and shall be sized to prevent a 2¼” diameter sphere from passing through openings anywhere along the length of the gate frame.

    - Finish:

      - Gate to be mill finish aluminum, color coated with polyester powder or primed and painted as specified by the engineer.  Prior to coating, the gate frame shall be pretreated chemically, by sand blasting or other acceptable method to ensure proper coating adherence.

    - Obstruction Sensing Systems:

      - The inherent motor current sensors are part of the gate operator system and may not be removed or bypassed.

      - The installing contractor shall be responsible to ensure that appropriate external secondary entrapment protection devices be installed for the specific site conditions to protect against all potential entrapment zones.  Proper operation of these safety devices shall be verified and training as to the operation and maintenance of these devices for the users and owners shall be documented.

WARRANTY:

    - The overhead slide gate and operator system shall be warranted by the manufacturer against manufacturing defects for a period of (3) three years from date of sale.  The truck assembly shall be warranted against manufacturing defects by the manufacturer for a period of (5) five years from date of sale.

EXECUTION:

Site Inspection:

    - Examine final grades and installation conditions.

    - Do not begin work until all unsatisfactory conditions are corrected.

Installation:

    - Install equipment of this section in strict accordance with the company’s printed instructions unless otherwise shown on the contract drawings.

    - The gate and installation shall conform to ASTM F 1184 standards for aluminum cantilever slide gates, Type I, Class 2.  See 1.02 C.

    - The gate system is to comply with ASTM F2200 and UL 325.  See 1.02 B and     1.02 A respectively.

System Acceptance & validation:

    - Acceptance Test:

      - Test each system function.

      - Supply all equipment necessary for system adjustment and testing.

    - Test and Explain Safety Features:

      - Each system feature and device is a separate component of the gate system.

      - Read and follow all instructions for each component.

      - Ensure that all instructions for mechanical components, safety devices and the gate operator are available for everyone who will be using the gate system.

      - The warning signs shipped with the gate operator must be installed in prominent position on both sides of the gate.

    - System Validation:

      - The complete system shall be adjusted to assure it is performing properly.

      - The system shall be operated for a sufficient period of time to determine that the system is in proper working order.

      - Ensure the owner is clear with regard to the safety points concerning the basic operational guidelines of the safety features of the gate operator system.  These safety points are listed in the operator manual and must be read prior to system use.

Note: Tymetal Corp. reserves the right to modify and/or make changes as deemed necessary without previous notice.