| Specification Section 11 18 00 TYMETAL MST TURNSTILE |  |  |
| --- | --- | --- |

GENERAL

  - SECTION INCLUDES:

    - The work in this section shall include furnishing all labor, materials, equipment and appliances necessary to complete installation of Tymetal MST Turnstile(s) required for this project in strict accordance with this specification section and drawings.

  - REFERENCES:

    - ASTM A 123 Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel.

  - SUBMITTAL:

    - Product Data:

      - Provide manufacturer’s catalog cuts with printed specifications and installation instructions.

      - Furnish detailed sequence of operation (description of system).

  - TURNSTILE MANUFACTURER:

    - The Turnstile shall be manufactured by Tymetal Corp., 678 Wilbur Avenue, Greenwich, NY  12834 – (800) 328 – 4283.

    - Approved substitution – All other turnstile systems must be submitted to the design team in accordance with substitution requirements as set forth in the general provisions of the project manual for approval prior to the bid date.  Products submitted after the bid date will not be approved.

    - Store turnstiles on building site, under cover, on wood sills or floors, and in a manner that prevents rust or damage.  Ventilate canvas or plastic covers to prevent moisture traps.

  - SYSTEM DIMENSIONS:

    - Each turnstile system shall have an overall width of 62 ¼” inches and height of 84 inches.

  - SYSTEM FUNCTION:

    - General Description:

      - The Tymetal MST Turnstile is designed for maximum impenetrability and to provide maximum protection against vandalism and illegal use.

      - The turnstile can be used for either entry or exit directions or both and can be operated with electric or manual controls.

      - Electric access control devices include a card reader, keypad, push button, etc.

      - The turnstile can be installed in multiple sets.

    - Operation:

      - When the turnstile is in the closed position, it shall be impossible for the turnstile to be entered except by electrical means.  For use indoors or outdoors in any climate.  Designed for continuous duty.

  - SYSTEM COMPONENTS:

    - Mechanism:

      - All steel and stainless with two locking pawls.

    - Rotor and Barrier Vertical Members:

      - 1.75” OD x 14 gauge steel tubing and 3” OD x 6 guage steel tube galvanized.

    - Bearing Assembly:

      - Two outdoor rated precision bearings, with a cover protecting the bottom bearing.

    - Arms:

      - Galvanized steel tubing 1.75” OD and 14 gauge wall thickness.

      - Ends shall be capped with forced fit plastic plugs.

  - FABRICATION:

    - General:

      - The Tymetal MST Turnstiles ships the Yoke, Roto, OV and Top Channel components for assembly on site.

      - The turnstiles are built using heavy gauge steel components that are designed to perform reliably under the heaviest traffic conditions in any weather condition.

      - Surfaces are smooth and adequate space for comfortable movement is provided in each compartment for safe operation.

    - Construction Features:

      - Locking mechanism includes two stainless steel locking arms.

      - Enclosed bearing assemblies with two outdoor rated precision bearings, with a cover protecting the bottom bearing.

  - FINISH:

    - Galvanizing:

      - All exposed system parts shall be hot dipped zinc galvanized.

    - Color Coating:

      - Optional color / powder coating.

  - WARRANTY:

    - The Tymetal MST Turnstile system shall be warranted by the manufacturer against manufacturing defects for a period of (5) years from date of sale.

  - ACCESS CONTROL:

    - Entry:

      - Card reader or keypad at turnstile device.

    - Exit:

      - Free Exit

    - Power Outage Security:

      - Exit - Fail Safe (Free Exit)

      - Entry – Fail Secure (Locked Entry)

EXECUTION

  - Site INSPECTION:

    - Final grades and installation conditions shall be examined.  Installation shall not begin until all unsatisfactory conditions are corrected.

  - INSTALLATION:

    - Equipment in this section shall be installed in strict accordance with the company’s printed instructions unless otherwise shown on the contract drawings.

  - SYSTEM validation:

    - The complete system shall be adjusted to assure it is performing properly.

    - The system shall be operated for a sufficient period of time to determine that the system is in proper working order.

Tymetal Corp. reserves the right to modify and/or make changes as deemed necessary without previous notice.